## Slide 1: Surface Noise in Oceanographic Measurements
DFO and HSC sourced Data

## Slide 2: HSC Examples
Scots Bay July 21, 2019

## Slide 3
Scots Bay August 5, 2019
Upper 5m
Temperature and salinity

## Slide 4
Scots Bay August 18, 2019
Upper 2.5m
Temperature and salinity

## Slide 5
Scots Bay August 20, 2019
Upper 5m
Temperature and salinity

## Slide 6: German Bank October 24, 2023 Looks to be salinity only 2.5m

## Slide 7: Scots Bay July 8, 2018 5m temperature and salinity

## Slide 8: Scots Bay August 5, 2018 Mostly salinity 5m

## Slide 9: German Bank August 12, 2018 5m, salinity

## Slide 10: Scots Bay July 20, 2019 5m temperature and salinity

## Slide 11: Conclusion for HSC data
Top 5m needs to be trimmed for analysis

## Slide 12: DFO Data
Much fewer data points per casts
Often every 10m
Many just a surface and bottom temperature

## Slide 13: German Bank October 26, 1989 19 data points

## Slide 14: German Bank 9 Data Points October 26, 1989

## Slide 15
German Bank 12 Data Points October 27, 1989

## Slide 16: German Bank October 26, 1993 32 data points

## Slide 17: German Bank August 16, 1977 14 data points Temperature only

## Slide 18: German Bank 4 data points Temperature only August 19, 1978

## Slide 19: DFO
Trim top 5 m when there is greater than 2 data points
If less than 2 data points, keep all (greater uncertainty for these casts)
Many historic Scots Bay casts just have surface at 0m, these will have to be compared to an average temp for HSC data (5-10m)

## Slide 20
More often effects salinity, but also possible for temperature
Salinity sensor more sensitive than temperature
Occurs in both Scots Bay and German Bank
Occurs in both DFO datasets, historic and 2009
Solution? Trim upper 5 from HSC casts
Conduct a ‘near surface’ comparison
  DFO surface temperature with HSC 5-10m